During this inspection we will be checking for safety items covered under the **International Fire Code.**

**We highly recommend that you check the following areas that will be included in the inspection.**

[ ] Properly working Exit Signs and Emergency Lights

[ ]  Storage areas & Utility rooms for clearance around utilities and equipment.

[ ]  Improper use of power strips & Extension cords

[ ]  Fire Extinguishers, Sprinkler Systems & Hood Systems annual service date.

[ ]  Blocked & nonworking emergency exits

**Please update the emergency contact list attached with the names, contact numbers and email address for those individuals.**

**Hanover Area Fire and Rescue**

**Station 1 - (717) 637-6671**

**Station 2 - (717)-637-4949**

**Station 3 – (717) 637-8760**